Safety Checklists

| Slip, Trip, and Fall Prevention Checklist Supervisor: Area: Date: |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Yes |  | No |
| Area Safety Check |  |  |  |  |
| Do workers wear low heel non-skid footwear? |  |  |  |  |
| Are there daily slip, trip, and fall hazard inspections? |  |  |  |  |
| Is there easy access to cleanup material and waste containers? |  |  |  |  |
| Are fluid drains diverted from walkways? |  |  |  |  |
| Are mats placed at building and wet process-area entrances? |  |  |  |  |
| Is there good lighting for all interior & exterior work areas & walkways? |  |  |  |  |
| Is colored strapping material used in shipping/packing areas? |  |  |  |  |
| Is there no storage on stairs? |  |  |  |  |
| Are spills cleaned up immediately? |  |  |  |  |
| Is scrap controlled to prevent accumulation? |  |  |  |  |
| Are walkways at least 22-inches wide? |  |  |  |  |
| Are damaged floors repaired? |  |  |  |  |
| Is anti-slip floor coating used in production areas? |  |  |  |  |
| Are hand & knee rails fastened securely? |  |  |  |  |
| Is there no storage near ladders? |  |  |  |  |
| Do all drop-offs have safety rails? |  |  |  |  |
| Are floor openings guarded by safety rails? |  |  |  |  |
| Is top access to permanent ladders chained or barred? |  |  |  |  |
| Is top access to permanent ladders is clear of material & debris? |  |  |  |  |
| Do low platforms have adequate room for movement? |  |  |  |  |
| Employee Training — Verify that workers are trained: |  |  |  |  |
| … not to climb shelving. |  |  |  |  |
| … to pre-inspect & use fall protection when working from unguarded heights. |  |  |  |  |
| … on the proper use and type of ladders. |  |  |  |  |
| … to immediately clean up spills. |  |  |  |  |
| … to keep walkways and exits clear. |  |  |  |  |
| … to keep cords and trip hazards off floors. |  |  |  |  |
| Supervisors' Safety Checklist – Office Safety Supervisor: Area: Date: |  |  |  |  |
|  | Yes |  | No |  |
| Area Safety Check — Verify that: |  |  |  |  |
| Adequate fire extinguishers are provided. |  |  |  |  |
| Emergency exit routes are posted. |  |  |  |  |
| Emergency lighting is provided for all rooms, hallways, and exits. |  |  |  |  |
| Exits have lighted signs. |  |  |  |  |
| Electrical receptacles are not overloaded. |  |  |  |  |
| There are no frayed power cords. |  |  |  |  |
| Power cords do not run across floors or under rugs. |  |  |  |  |
| All electrical equipment is turned off at the end of day. |  |  |  |  |
| No open flames (candles, etc) are allowed. |  |  |  |  |
| There are no exposed electrical hazards. |  |  |  |  |
| No storage allowed in electrical or utility closets. |  |  |  |  |
| Step ladders are available to access high shelves. |  |  |  |  |
| There are no trip hazards. |  |  |  |  |
| All shelves are secured to wall framing. |  |  |  |  |
| Housekeeping plan is established & used. |  |  |  |  |
| Trash is removed at least daily. |  |  |  |  |
| All damaged equipment & furniture is immediately removed. |  |  |  |  |
| Hot water heaters are inspected & drained annually. |  |  |  |  |
| Hot water relief valves are replaced annually. |  |  |  |  |
| Hot water heater thermostats are checks annually. |  |  |  |  |
| Emergency phone numbers are posted by each phone. |  |  |  |  |
| Employee Training — Verify that workers are trained: |  |  |  |  |
| … in emergency procedures. |  |  |  |  |
| … to only open one file drawer at a time. |  |  |  |  |
| … not to overload shelves. |  |  |  |  |
| … in proper lifting techniques. |  |  |  |  |
| … to not attempt equipment repairs unless authorized. |  |  |  |  |
| … to prevent fire hazards. |  |  |  |  |
| … to keep trip hazards off the floor. |  |  |  |  |
| … to clean-up spills immediately. |  |  |  |  |
| … in proper inspection & use of step ladders. |  |  |  |  |
| … to maintain cleanliness of commons areas. |  |  |  |  |
| Supervisors' Safety Checklist – Fire Prevention Supervisor: Area: Date: |  |  |  |  |
|  |  | Yes |  | No |
| Area Safety Check — Verify that: |  |  |  |  |
| All flammable liquids are stored in approved, vented storage lockers. |  |  |  |  |
| Oily rags are disposed of in approved containers. |  |  |  |  |
| Electrical motors are checked daily for overheating. |  |  |  |  |
| Trash is not allowed to accumulate in work areas. |  |  |  |  |
| Flammable material is not stored under stairs. |  |  |  |  |
| No storage is allowed in electrical utility rooms. |  |  |  |  |
| Waste dumpsters are not located next to buildings. |  |  |  |  |
| Smoking is only allowed in designated areas, and appropriate waste containers are provided. |  |  |  |  |
| Flammable storage areas are posted with “No Smoking” signs. |  |  |  |  |
| Combustible gases are properly stored. |  |  |  |  |
| Bonding and grounding of flammable liquid containers is enforced. |  |  |  |  |
| Incompatible chemicals are stored in separate areas. |  |  |  |  |
| “Hot Work” permits are used for all welding and spark producing operations. |  |  |  |  |
| Access to utility & equipment rooms is restricted to authorized employees. |  |  |  |  |
| Combustible & flammable material is not stored near gas-fired equipment. |  |  |  |  |
| Employee Training — Verify that workers are trained: |  |  |  |  |
| … to recognize and report fire hazards. |  |  |  |  |
| … to activate fire alarms. |  |  |  |  |
| … to understand proper storage of flammable liquids. |  |  |  |  |
| … in the proper use fire extinguishers (supervisors). |  |  |  |  |

| Supervisors' Safety Checklist – Flammable Liquids Supervisor: Area: Date: |  |  |
| --- | --- | --- |
|  | Yes | No |
| Flammable Store Room — Verify that: |  |  |
| 3-foot wide aisles are clear. |  |  |
| Forced ventilation is working properly. |  |  |
| Explosion-proof switches are intact, with guards on all fixtures. |  |  |
| Fusible links are intact on self-closing doors. |  |  |
| Self-closing doors are operational, sills intact. |  |  |
| Number of containers does not exceed rated capacity. |  |  |
| Container grounding is installed. |  |  |
| There is a safety vent in each open drum. |  |  |
| Approved faucet or pump on each drum is being drained. |  |  |
| Approved drip can is under each drum faucet; those with liquid are emptied. |  |  |
| Approved filler/vent is on each drum being filled. |  |  |
| Sprinkler system is inspected. |  |  |
| Floor is clean of drips, spills, and trash. |  |  |
| Required signs are in place and legible. |  |  |
| In-Plant Use of Flammable Liquids — Verify that: |  |  |
| There are Type I safety cans for receiving flammable liquids from drums. |  |  |
| There are hose or funnel attachments for Type I safety cans. |  |  |
| Nonmetallic safety cans are used for harsh or corrosive items. |  |  |
| Stainless steel cans are used for reagent grade solvents or high purity liquids. |  |  |
| Cabinets are vented and have self-closing doors. |  |  |
| Proper dispenser or plunger cans are used. |  |  |
| Bench Cans with flame arrester screens are used. |  |  |
| Tool Cleaning & Rinse Tanks — Verify that: |  |  |
| Rinse tanks with self-closing covers are used. |  |  |
| Cleaning tanks with fusible-link cover-closing device are used. |  |  |
| Waste Disposal — Verify that: |  |  |
| Oily waste cans with self-closing covers are available. |  |  |
| Liquid waste cans with self-closing safety caps are available. |  |  |
| Drain cans with flame arrester are available for collecting used solvents. |  |  |
| Fill vents and funnels are on waste drums. |  |  |
| Spill containment pallets are beneath all drums stored indoors. |  |  |
|  | Yes | No |
| Hazmat accumulation centers are established. |  |  |
| Employee Training — Verify that workers are trained: |  |  |
| … in Flammable store room safety procedures. |  |  |
| … to use bonding & grounding systems. |  |  |
| … to use proper portable containers. |  |  |
| … to properly dispense flammable liquids. |  |  |
| … to immediate clean up spills. |  |  |
| … in hazards of flammable liquids. |  |  |
| … in sources of ignition. |  |  |
| … to properly dispose of waste and un-used flammable liquids. |  |  |

| Supervisors' Safety Checklist – Emergencies Supervisor: Area: Date: |  |  |
| --- | --- | --- |
|  | Yes | No |
| Area Safety Check — Verify that: |  |  |
| Emergency exits are unlocked, well-marked, and not blocked. |  |  |
| Fire alarm pull boxes are not blocked. |  |  |
| Fire extinguishers are not blocked. |  |  |
| Emergency exit routes are posted. |  |  |
| Eyewash & emergency showers function & are not blocked. |  |  |
| Emergency phone numbers are posted by each phone. |  |  |
| Emergency equipment is not blocked. |  |  |
| First-aid kits are stocked and easily accessible. |  |  |
| Employee Training — Verify that the workers specified below are trained in these areas: |  |  |
| Supervisors — First Aid & CPR |  |  |
| Supervisors — Emergency procedures |  |  |
| Supervisors — Fire safety and fire extinguisher use |  |  |
| Supervisors — Emergency notification procedures |  |  |
| All workers — Evacuation procedures |  |  |
| All workers — Sheltering procedures |  |  |
| All workers — Alarm signals |  |  |

Fire Drill Evaluation Report

| Point of Origin: |  | Drill Date: |  |
| --- | --- | --- | --- |
| Department: |  | Shift: |  |
| Evaluator Name: |  | Time Began: |  |
| Initiation Method: |  | Time Completed: |  |

| Areas of Evaluation — Circle Yes or No for only those evaluation areas you observed. |  |  |  |
| --- | --- | --- | --- |
| All inside doors were closed after alarm. | Yes | No | NA |
| Gas valves & other flammable service valves shut. | Yes | No | NA |
| Employees familiar with alarm box locations and use. | Yes | No | NA |
| Employees know emergency phone numbers. | Yes | No | NA |
| Paging system was operated correctly. | Yes | No | NA |
| Announcing system was operated correctly. | Yes | No | NA |
| Fire alarm was audible and visual indicators functioned properly. | Yes | No | NA |
| Evacuation was orderly and controlled by supervisors. | Yes | No | NA |
| Equipment was shut down during evacuation. | Yes | No | NA |
| Employees used correct evacuation routes. | Yes | No | NA |
| Employees gathered at correct relocation areas. (Elapsed time _______) | Yes | No | NA |
| No obstacles were in evacuation paths. | Yes | No | NA |
| Emergency exit routes clearly marked. | Yes | No | NA |
| Emergency exit doors not blocked - worked properly. | Yes | No | NA |
| Supervisors followed emergency response plan. | Yes | No | NA |
| Management followed emergency response plan. | Yes | No | NA |
| Critical document control and removal plan executed. | Yes | No | NA |
| Fire department called (by pre-arrangement). (Response time _______) | Yes | No | NA |
| Police called (by pre-arrangement). (Response time _______) | Yes | No | NA |
| Utilities shut off in affected areas. (Elapsed time _______) | Yes | No | NA |
| Fire dept on-scene time. (Elapsed time _______). | Yes | No | NA |
| Fire was properly brought under control. (Elapsed time _______). | Yes | No | NA |
| Fire was extinguished. (Elapsed time _______). | Yes | No | NA |
|  | Yes | No | NA |
|  | Yes | No | NA |
|  | Yes | No | NA |
|  | Yes | No | NA |
|  | Yes | No | NA |

Comments:

GL Safety Audit / Inspection Checklist

Account:	    Date:

Location (occupancy):

Parking Lot	OK	  Defective	Comments

Clean, orderly, and free of liquids/grease	_____	   _____	_________

Free of potholes/depressions	_____	   _____	_________

Parking areas striped	_____	   _____	_________

Curbs/no parking areas marked	_____	   _____	_________

Openings/drains covered	_____	   _____	_________

No other slip/trip/hazards	_____	   _____	_________

Doors	OK	  Defective	Comments

Glass doors have visible marking to prevent collisions	_____	   _____	_________

Solid doors have glass panels to help prevent collisions	_____	   _____	_________

Door opening/closing devices in good condition	_____	   _____	_________

Walking Surfaces (Inside)	OK	  Defective	Comments

Clean, orderly, and free of liquids/grease	_____	   _____	_________

Free of depressions	_____	   _____	_________

Openings/drains covered	_____	   _____	_________

“Caution - Wet Floor” signs available/used	_____	   _____	_________

Carpets are secured/good condition	_____	   _____	_________

Rugs/mats are flat, without upturned edges	_____	   _____	_________

Sweep/inspection interval	_____	   _____	_________

Other slip/trip/fall hazards controlled	_____	   _____	_________

Aisles	OK	  Defective	Comments

Are clearly marked	_____	   _____

_________

Unobstructed with materials on floor/extending from shelves	_____	   _____	_________

Sufficiently wide (4 feet) for material handling/customer traffic	_____	   _____	_________

Shelves/counters in good condition with no sharp edges	_____	   _____	_________

Pegboard hooks with rounded/protected ends	_____	   _____	_________

Shelves are anchored	_____	   _____	_________

Furniture	OK	  Defective	Comments

Furniture is in good condition	_____	   _____	_________

Furniture is used as designed	_____	   _____	_________

Stairs	OK	  Defective	Comments

No worn or damaged treads/surfaces	_____	   _____	_________

Railings are secure	_____	   _____	_________

No material is stored on stairs	_____	   _____	_________

Proper lighting on stairs	_____	   _____	_________

Ladders	OK	  Defective	Comments

Safety feet are in good repair	_____	   _____	_________

Clean (unpainted) steps/rungs	_____	   _____	_________

No loose steps/rungs/hinges	_____	   _____	_________

No cracked uprights/steps/rungs	_____	   _____	_________

Labeled class/type and weight rating 	_____	   _____	_________

Elevated Areas	OK	   Defective	Comments

Properly guarded	_____	   _____	_________

Weight limits posted	_____	   _____	_________

Toe boards in place	_____	   _____	_________

Adequate headroom above/below	_____	   _____	_________

Lighting	OK	  Defective	Comments

Illumination level sufficient for work performed	_____	   _____	_________

Emergency lighting adequate and operating	_____	   _____	_________

Emergency Exits/Preparedness	OK	  Defective	Comments

Adequate number of emergency exits	_____	   _____	_________

No locked exits	_____	   _____	_________

No blocked exit paths (inside/outside)	_____	   _____	_________

Emergency exit signs adequate and operating	_____	   _____	_________

Emergency exit doors open to outside flat surface	_____	   _____	_________

Emergency telephone numbers posted	_____	   _____	_________

Non-exits are properly marked as such	_____	   _____	_________

Fire Protection	OK	  Defective	Comments

Adequate number/type of fire extinguishers	_____	   _____	_________

Fire extinguishers properly labeled/mounted	_____	   _____	_________

Fire extinguishers inspected monthly	_____	   _____	_________

Fire extinguishers certified/recharged annually	_____	   _____	_________

Employees trained periodically on use of fire extinguishers	_____	   _____	_________

Flammable/combustible items stored in approved containers	_____	   _____	_________

Flammable/combustible items properly labeled	_____	   _____	_________

Ash trays provided and filled with sand, if applicable	_____	   _____	_________

Cooking Equipment	OK	  Defective	Comments

Cleaned Regularly	_____	   _____	_________

Located under ventilation hoods	_____	   _____	_________

Hoods have adequate exhaust	_____	   _____	_________

Hoods/filters are cleaned regularly	_____	   _____	_________

Hoods professionally cleaned every 6 months	_____	   _____	_________

Hoods equipped with automatic extinguishing system	_____	   _____	_________

Adequate number/type of fire extinguishers (40BC)	_____	   _____	_________

Employee Work Practices	OK	  Defective	Comments

Hair covered when working around open food	_____	   _____	_________

Hands are sanitized prior to handling food	_____	   _____	_________

Proper clothing/jewelry worn	_____	   _____	_________

Protective equipment available and used	_____	   _____	_________

Cooler	OK	  Defective	Comments

Temperatures checked often	_____	   _____	_________

Emergency release on doors	_____	   _____	_________

Electrical	OK	  Defective	Comments

All machines are properly grounded	_____	   _____	_________

Pigtails are used on ungrounded outlets	_____	   _____	_________

All extension cords 3 wire grounded	_____	   _____	_________

Cord insulation undamaged	_____	   _____	_________

There are no overloaded outlets/circuits	_____	   _____	_________

Control panels clearly identified	_____	   _____	_________

All circuit breakers are labeled	_____	   _____	_________

All outlets/junction boxes are properly covered	_____	   _____	_________

All ground fault interrupters are in working condition	_____	   _____	_________

All wires are in conduit	_____	   _____	_________

First-aid & Medical Services	OK	  Defective	Comments

First-aid kit well stocked	_____	   _____	_________

There are clear instructions for contacting outside medical sources	_____	   _____	_________

Provisions are available for transportation to medical sources	_____	   _____	_________

OSHA 200 log is up to date	_____	   _____	_________

Injury report forms are available	_____	   _____	_________

Waste Disposal	OK	  Defective	Comments

Waste containers are in good repair	_____	   _____	_________

Waste containers are properly labeled	_____	   _____	_________

Separate containers are provided for different types of waste	_____	   _____	_________

Security	OK	  Defective	Comments

Cameras/recording equipment working	_____	   _____	_________

Alarms are tested regularly	_____	   _____	_________

Doors are marked with height indicators	_____	   _____	_________

All customers are greeted on entering	_____	   _____	_________

Windows have only a limited number of signs	_____	   _____	_________

All display shelves are less than 5 feet	_____	   _____	_________

Cash register are visible from street	_____	   _____	_________

Aisle corner mirrors are properly adjusted	_____	   _____	_________

Free coffee offered to on-duty officers	_____	   _____	_________

Employees leave in pairs or more	_____	   _____	_________

Robbery Prevention signs are posted	_____	   _____	_________

Money is controlled/Non-routine bank deposits	_____	   _____	_________

Keys are controlled	_____	   _____	_________

Restroom Facilities	OK	  Defective	Comments

Condition of floors	_____	   _____	_________

Waste containers are properly labeled	_____	   _____	_________

Cleanliness of area	_____	   _____	_________

Adjacent Properties	Type	Distance

South:

North:

East:

West:

Are areas of responsibility defined between the tenant and owner?		Y	N

Explain:

What are the minimum insurance requirements?

Explain:

Are tenant premises inspected & how often?					Y	N

Explain:

Any outside displays allowed?		Y	N

Explain:

Subs used for grounds and property maintenance?		Y	N

Explain:

Certs: 		Y	N

Limits:

Who updates?:

How often?:

Any special events sponsored?		Y	N

Describe events and how often they occur:

Any onsite security?		Y	N

If yes, are they armed?		Y	N

Are there procedures for others having security onsite?		Y	N

Slip/fall program (i.e. signs, warnings, etc.) for snow/ice in place?		Y	N

Describe:

Emergency procedures? 		Y	N

Describe:

Frequency of police patrols?:

Any facilities with roof-top parking?		Y	N

Describe:

How often is roof inspected for collapse potential?:

Any construction completed in-house?		Y	N

Any properties with daycare facilities?		Y	N

Any properties with escalators, elevators, etc.?		Y	N

If yes, inspected and serviced by whom?:

Under what right do tenants have the right to cancel a lease?:

Who owns vending machines located on the premises?:

Any food or beverage services offered by risk?		Y	N

If yes, explain:

Any special contracts with any tenants		Y	N

ADA requirements addressed?		Y	N

Towing?		Y	N

Tenant turnover?:

DISCLAIMER: These sample forms and agreements are not endorsed by the Institute of Real Estate Management. They are presented for informational purposes only and should not be relied upon for accuracy, completeness or consistency with applicable law. The user is advised to check all applicable state and federal law before using these forms, agreements, or parts thereof. Because certain forms have legal implications (e.g., management agreements, rental applications), it is recommended that downloaded versions of such forms should be reviewed with legal counsel prior to their use and that any modifications made by the user should also be reviewed by legal counsel.